## IQCP Statement of Record
Individualized Quality Control Plan (IQCP): Stratus® CS Acute Care™ Diagnostic System
Quality Control Plan (QCP): The IQCP is following exactly what is written in manufacturer’s instructions for doing the test, and in addition the laboratory follows their practices, resources, and procedures as stated in the lab’s manual assuring accurate and reliable test results at all times. The laboratory relies on internal built in controls of the test system assuring the test system is properly working. For quality control, the laboratory is following the manufacturer’s recommended quality control procedure by testing external quality control material for each shipment of a new kit lot number. The laboratory has quality control data supporting the manufacturer’s QC recommendation.
Quality Assessment (QA): All IQCP QA monitoring is part of the lab’s overall QA plan and is an ongoing review process for the IQCP. The lab has a review system for the ongoing monitoring of the effectiveness of the lab’s IQCP. The monitoring includes, but not limited to specimen, environment, testing personnel, reagent, and test system. In addition, if there is a complaint on a test result and or unacceptable QC and proficiency test result, the lab investigates and takes corrective action. It may be necessary to change the IQCP.
Laboratory Director Signature: ________________________________________ Date: __________________________
I, the Laboratory Director delegate to: _______________________________________in preparation of this document which I am ultimately responsible for. Date: _______________________________

## Instructions for Use
Individualized Quality Control Plan (IQCP): Stratus® Acute Care Diagnostic System
Instruction for Use
Phase | Defined as Pre-Analytical, Analytical and Post-Analytical
Process Step | Defined in test instruction for use
Identified Risk - Source of Potential Risk | Defined in test instruction for use and institute practices
Frequency of Occurrence | This should be defined by individual site risk assessments for previously documented events
Severity of Harm | Can use risk asssesment guide to determine category
Risk Mitigation: Manage/Prevent Errors from Occurring | This is provided in instructions for use, operators guides, current SOP's and various regulatory instructions
Risk Level Acceptable: Yes or No | Answer according to level of risk being mitigated
Reference | References from manufacturer, regulatory bodies and individual institute SOP's

## Specimen
Individualized Quality Control Plan (IQCP): Stratus CS - βHCG | [7 empty] | Individualized Quality Control Plan (IQCP): Stratus CS - hsCRP | [7 empty] | Individualized Quality Control Plan (IQCP): Stratus CS - CKMB | [7 empty] | Individualized Quality Control Plan (IQCP): Stratus CS - cTnI | [7 empty] | Individualized Quality Control Plan (IQCP): Stratus CS - d-Dimer | [7 empty] | Individualized Quality Control Plan (IQCP): Stratus CS - Myoglobin | [7 empty] | Individualized Quality Control Plan (IQCP): Stratus CS - NT-Pro BNP
Specimen | [7 empty] | Specimen | [7 empty] | Specimen | [7 empty] | Specimen | [7 empty] | Specimen | [7 empty] | Specimen | [7 empty] | Specimen
Phase | Process Step | Identified Risk - Source of Potential Risk | Frequency of Occurrence | Severity of Harm | Risk Mitigation: Manage/Prevent Errors from Occurring | Risk Level Acceptable? | Reference | Phase | Process Step | Identified Risk - Source of Potential Risk | Frequency of Occurrence | Severity of Harm | Risk Mitigation: Manage/Prevent Errors from Occurring | Risk Level Acceptable? | Reference | Phase | Process Step | Identified Risk - Source of Potential Risk | Frequency of Occurrence | Severity of Harm | Risk Mitigation: Manage/Prevent Errors from Occurring | Risk Level Acceptable? | Reference | Phase | Process Step | Identified Risk - Source of Potential Risk | Frequency of Occurrence | Severity of Harm | Risk Mitigation: Manage/Prevent Errors from Occurring | Risk Level Acceptable? | Reference | Phase | Process Step | Identified Risk - Source of Potential Risk | Frequency of Occurrence | Severity of Harm | Risk Mitigation: Manage/Prevent Errors from Occurring | Risk Level Acceptable? | Reference | Phase | Process Step | Identified Risk - Source of Potential Risk | Frequency of Occurrence | Severity of Harm | Risk Mitigation: Manage/Prevent Errors from Occurring | Risk Level Acceptable? | Reference | Phase | Process Step | Identified Risk - Source of Potential Risk | Frequency of Occurrence | Severity of Harm | Risk Mitigation: Manage/Prevent Errors from Occurring | Risk Level Acceptable? | Reference
Pre-Analytic | [7 empty] | Pre-Analytic | [7 empty] | Pre-Analytic | [7 empty] | Pre-Analytic | [7 empty] | Pre-Analytic | [7 empty] | Pre-Analytic | [7 empty] | Pre-Analytic
Pre-Analytic | Specimen Collection/Handling/Transport | Did not follow Manufacturer protocol for collection and storage of specimen. Use of improper collection tube, improper transportation, or improper storage conditions. Use of sample tube past shelf-life. |  |  | Whole blood collected in lithium or sodium heparin tubes. Whole blood samples must be analyzed within two hours of collection. Plasma samples are stable for 6 days when stored at 4 °C or for at least 6 months when stored at -20 °C. Samples should not be repetitively frozen and thawed prior to testing. System performs various pressure checks during every test which may detect issues due to improper sample handling. If pressure is outside of limits, system reports an error and does not report a result. Conduct periodic training of all operators to educate on proper sample collection/handling/transport per Manufacturer recommendations. Follow established SOP XXX.XXX for specimen management. |  |  | Pre-Analytic | Specimen Collection/Handling/Transport | Did not follow Manufacturer protocol for collection and storage of specimen. Use of improper collection tube, improper transportation, or improper storage conditions. Use of sample tube past shelf-life. |  |  | Whole blood collected in lithium or sodium heparin tubes. Whole blood samples must be analyzed within two hours of collection. Plasma samples are stable when stored at 4 °C for <72 hrs and when frozen at -20°C for 6 months. Samples should not be repetitively frozen and thawed prior to testing. System performs various pressure checks during every test which may detect issues due to improper sample handling. If pressure is outside of limits, system reports an error and does not report a result. Conduct periodic training of all operators to educate on proper sample collection/handling/transport per Manufacturer recommendations. Follow established SOP XXX.XXX for specimen management. |  |  | Pre-Analytic | Specimen Collection/Handling/Transport | Did not follow Manufacturer protocol for collection and storage of specimen. Use of improper collection tube, improper transportation, or improper storage conditions. Use of sample tube past shelf-life. |  |  | Whole blood collected in lithium or sodium heparin tubes. Whole blood samples must be analyzed within two hours of collection. Plasma samples are stable for two days when stored at 2 – 8°C. System performs various pressure checks during every test which may detect issues due to improper sample handling. If pressure is outside of limits, system reports an error and does not report a result. Conduct periodic training of all operators to educate on proper sample collection/handling/transport per Manufacturer recommendations. Follow established SOP XXX.XXX for specimen management. |  |  | Pre-Analytic | Specimen Collection/Handling/Transport | Did not follow Manufacturer protocol for collection and storage of specimen. Use of improper collection tube, improper transportation, or improper storage conditions. Use of sample tube past shelf-life. |  |  | Whole blood collected in lithium or sodium heparin tubes. Whole blood samples must be analyzed within two hours of collection. Plasma samples are stable for 2 days when stored at 2 – 8 °C or for at least 8 weeks when stored at -20 °C or below. Samples should not be repetitively frozen and thawed prior to testing. System performs various pressure checks during every test which may detect issues due to improper sample handling. If pressure is outside of limits, system reports an error and does not report a result. Conduct periodic training of all operators to educate on proper sample collection/handling/transport per Manufacturer recommendations. Follow established SOP XXX.XXX for specimen management. |  |  | Pre-Analytic | Specimen Collection/Handling/Transport | Did not follow Manufacturer protocol for collection and storage of specimen. Use of improper collection tube, improper transportation, or improper storage conditions. Use of sample tube past shelf-life. |  |  | Whole blood collected in lithium heparin or sodium citrate tubes. Whole blood samples must be analyzed within two hours of collection. Plasma samples are stable for 2 days when stored at 2 – 8 °C or for at least 8 weeks when stored frozen at -20 °C or below. Samples should not be repetitively frozen and thawed prior to testing. System performs various pressure checks during every test which may detect issues due to improper sample handling. If pressure is outside of limits, system reports an error and does not report a result. Conduct periodic training of all operators to educate on proper sample collection/handling/transport per Manufacturer recommendations. Follow established SOP XXX.XXX for specimen management. |  |  | Pre-Analytic | Specimen Collection/Handling/Transport | Did not follow Manufacturer protocol for collection and storage of specimen. Use of improper collection tube, improper transportation, or improper storage conditions. Use of sample tube past shelf-life. |  |  | Whole blood collected in lithium or sodium heparin tubes. Whole blood samples must be analyzed within two hours of collection. Plasma samples are stable for one week when stored at 2 – 8 °C. System performs various pressure checks during every test which may detect issues due to improper sample handling. If pressure is outside of limits, system reports an error and does not report a result. Conduct periodic training of all operators to educate on proper sample collection/handling/transport per Manufacturer recommendations. Follow established SOP XXX.XXX for specimen management. |  |  | Pre-Analytic | Specimen Collection/Handling/Transport | Did not follow Manufacturer protocol for collection and storage of specimen. Use of improper collection tube, improper transportation, or improper storage conditions. Use of sample tube past shelf-life. |  |  | Whole blood collected in lithium or sodium heparin tubes. Whole blood samples must be analyzed within two hours of collection. Samples are stable for three days when stored at 20 – 25 °C or at 2 – 8 °C or for 12 months when frozen at -20 °C or below. Samples should not be repetitively frozen and thawed prior to testing. System performs various pressure checks during every test which may detect issues due to improper sample handling. If pressure is outside of limits, system reports an error and does not report a result. Conduct periodic training of all operators to educate on proper sample collection/handling/transport per Manufacturer recommendations. Follow established SOP XXX.XXX for specimen management.
Pre-Analytic | Patient Identification | Did not follow protocol to properly verify patient identity and properly record patient information. |  |  | Operators should be trained in the hospitals patient identification protocol and to use the hospital system barcode to ensure proper data entry of patient identification number. Operators should be trained to use the system sample barcode reader to ensure proper data entry of patient identification fields. Follow established SOP XXX.XXX for patient identification. |  |  | Pre-Analytic | Patient Identification | Did not follow protocol to properly verify patient identity and properly record patient information. |  |  | Operators should be trained to use the system sample barcode reader to ensure proper data entry of patient identification fields. Follow established SOP XXX.XXX for patient identification. |  |  | Pre-Analytic | Patient Identification | Did not follow protocol to properly verify patient identity and properly record patient information. |  |  | Operators should be trained to use the system sample barcode reader to ensure proper data entry of patient identification fields. Follow established SOP XXX.XXX for patient identification. |  |  | Pre-Analytic | Patient Identification | Did not follow protocol to properly verify patient identity and properly record patient information. |  |  | Operators should be trained to use the system sample barcode reader to ensure proper data entry of patient identification fields. Follow established SOP XXX.XXX for patient identification. |  |  | Pre-Analytic | Patient Identification | Did not follow protocol to properly verify patient identity and properly record patient information. |  |  | Operators should be trained to use the system sample barcode reader to ensure proper data entry of patient identification fields. Follow established SOP XXX.XXX for patient identification. |  |  | Pre-Analytic | Patient Identification | Did not follow protocol to properly verify patient identity and properly record patient information. |  |  | Operators should be trained to use the system sample barcode reader to ensure proper data entry of patient identification fields. Follow established SOP XXX.XXX for patient identification. |  |  | Pre-Analytic | Patient Identification | Did not follow protocol to properly verify patient identity and properly record patient information. |  |  | Operators should be trained to use the system sample barcode reader to ensure proper data entry of patient identification fields. Follow established SOP XXX.XXX for patient identification.
Pre-Analytic | Specimen labeling | Did not properly label specimen. |  |  | Operators should be trained to follow site instructions for printing and applying sample barcode labels to sample tube to ensure proper patient-to-sample identification. Follow established SOP XXX.XXX for specimen labeling. |  |  | Pre-Analytic | Specimen labeling | Did not properly label specimen. |  |  | Operators should be trained to follow site instructions for printing and applying sample barcode labels to sample tube to ensure proper patient-to-sample identification. Follow established SOP XXX.XXX for specimen labeling. |  |  | Pre-Analytic | Specimen labeling | Did not properly label specimen. |  |  | Operators should be trained to follow site instructions for printing and applying sample barcode labels to sample tube to ensure proper patient-to-sample identification. Follow established SOP XXX.XXX for specimen labeling. |  |  | Pre-Analytic | Specimen labeling | Did not properly label specimen. |  |  | Operators should be trained to follow site instructions for printing and applying sample barcode labels to sample tube to ensure proper patient-to-sample identification. Follow established SOP XXX.XXX for specimen labeling. |  |  | Pre-Analytic | Specimen labeling | Did not properly label specimen. |  |  | Operators should be trained to follow site instructions for printing and applying sample barcode labels to sample tube to ensure proper patient-to-sample identification. Follow established SOP XXX.XXX for specimen labeling. |  |  | Pre-Analytic | Specimen labeling | Did not properly label specimen. |  |  | Operators should be trained to follow site instructions for printing and applying sample barcode labels to sample tube to ensure proper patient-to-sample identification. Follow established SOP XXX.XXX for specimen labeling. |  |  | Pre-Analytic | Specimen labeling | Did not properly label specimen. |  |  | Operators should be trained to follow site instructions for printing and applying sample barcode labels to sample tube to ensure proper patient-to-sample identification. Follow established SOP XXX.XXX for specimen labeling.
Pre- Analytic | Sample Integrity: Inadequate volume of whole blood in sample tube | Not enough plasma in rotor after centrifugation for the number of TestPaks being tested |  |  | System performs various pressure checks during sample aspiration from rotor. If pressure is outside of limits, system reports an error and does not report a result. Operator should be trained to follow sample collection per established SOP XXX.XXX. |  |  | Pre- Analytic | Sample Integrity: Inadequate volume of whole blood in sample tube | Not enough plasma in rotor after centrifugation for the number of TestPaks being tested |  |  | System performs various pressure checks during sample aspiration from rotor. If pressure is outside of limits, system reports an error and does not report a result. Operator should be trained to follow sample collection per established SOP XXX.XXX. |  |  | Pre- Analytic | Sample Integrity: Inadequate volume of whole blood in sample tube | Not enough plasma in rotor after centrifugation for the number of TestPaks being tested |  |  | System performs various pressure checks during sample aspiration from rotor. If pressure is outside of limits, system reports an error and does not report a result. Operator should be trained to follow sample collection per established SOP XXX.XXX. |  |  | Pre- Analytic | Sample Integrity: Inadequate volume of whole blood in sample tube | Not enough plasma in rotor after centrifugation for the number of TestPaks being tested |  |  | System performs various pressure checks during sample aspiration from rotor. If pressure is outside of limits, system reports an error and does not report a result. Operator should be trained to follow sample collection per established SOP XXX.XXX. |  |  | Pre- Analytic | Sample Integrity: Inadequate volume of whole blood in sample tube | Not enough plasma in rotor after centrifugation for the number of TestPaks being tested |  |  | System performs various pressure checks during sample aspiration from rotor. If pressure is outside of limits, system reports an error and does not report a result. Operator should be trained to follow sample collection per established SOP XXX.XXX. |  |  | Pre- Analytic | Sample Integrity: Inadequate volume of whole blood in sample tube | Not enough plasma in rotor after centrifugation for the number of TestPaks being tested |  |  | System performs various pressure checks during sample aspiration from rotor. If pressure is outside of limits, system reports an error and does not report a result. Operator should be trained to follow sample collection per established SOP XXX.XXX. |  |  | Pre- Analytic | Sample Integrity: Inadequate volume of whole blood in sample tube | Not enough plasma in rotor after centrifugation for the number of TestPaks being tested |  |  | System performs various pressure checks during sample aspiration from rotor. If pressure is outside of limits, system reports an error and does not report a result. Operator should be trained to follow sample collection per established SOP XXX.XXX.
Pre -Analytic | Specimen Integrity: Inadequate volume of plasma in sample cup | Not enough plasma in the sample cup for the number of TestPaks being tested |  |  | System performs various pressure checks during sample aspiration from sample cup. If pressure is outside of limits, system reports an error and does not report a result. Operator should be trained to follow plasma collection per established SOP XXX.XXX |  |  | Pre -Analytic | Specimen Integrity: Inadequate volume of plasma in sample cup | Not enough plasma in the sample cup for the number of TestPaks being tested |  |  | System performs various pressure checks during sample aspiration from sample cup. If pressure is outside of limits, system reports an error and does not report a result. Operator should be trained to follow plasma collection per established SOP XXX.XXX |  |  | Pre -Analytic | Specimen Integrity: Inadequate volume of plasma in sample cup | Not enough plasma in the sample cup for the number of TestPaks being tested |  |  | System performs various pressure checks during sample aspiration from sample cup. If pressure is outside of limits, system reports an error and does not report a result. Operator should be trained to follow plasma collection per established SOP XXX.XXX |  |  | Pre -Analytic | Specimen Integrity: Inadequate volume of plasma in sample cup | Not enough plasma in the sample cup for the number of TestPaks being tested |  |  | System performs various pressure checks during sample aspiration from sample cup. If pressure is outside of limits, system reports an error and does not report a result. Operator should be trained to follow plasma collection per established SOP XXX.XXX |  |  | Pre -Analytic | Specimen Integrity: Inadequate volume of plasma in sample cup | Not enough plasma in the sample cup for the number of TestPaks being tested |  |  | System performs various pressure checks during sample aspiration from sample cup. If pressure is outside of limits, system reports an error and does not report a result. Operator should be trained to follow plasma collection per established SOP XXX.XXX |  |  | Pre -Analytic | Specimen Integrity: Inadequate volume of plasma in sample cup | Not enough plasma in the sample cup for the number of TestPaks being tested |  |  | System performs various pressure checks during sample aspiration from sample cup. If pressure is outside of limits, system reports an error and does not report a result. Operator should be trained to follow plasma collection per established SOP XXX.XXX |  |  | Pre -Analytic | Specimen Integrity: Inadequate volume of plasma in sample cup | Not enough plasma in the sample cup for the number of TestPaks being tested |  |  | System performs various pressure checks during sample aspiration from sample cup. If pressure is outside of limits, system reports an error and does not report a result. Operator should be trained to follow plasma collection per established SOP XXX.XXX
Pre- Analytic | Specimen Integrity: Sample Bubbles | Not properly inspecting sample cup for presence of bubbles. |  |  | System performs various pressure checks during sample aspiration from sample cup. If pressure is outside of limits, system reports an error and does not report a result. Operator must check for bubbles in the sample cup and repeat collection if bubbles are visible. Operator should be trained to follow sample inspection instruction per established SOP XXX.XXX. |  |  | Pre- Analytic | Specimen Integrity: Sample Bubbles | Not properly inspecting sample cup for presence of bubbles. |  |  | System performs various pressure checks during sample aspiration from sample cup. If pressure is outside of limits, system reports an error and does not report a result. Operator must check for bubbles in the sample cup and repeat collection if bubbles are visible. Operator should be trained to follow sample inspection instruction per established SOP XXX.XXX. |  |  | Pre- Analytic | Specimen Integrity: Sample Bubbles | Not properly inspecting sample cup for presence of bubbles. |  |  | System performs various pressure checks during sample aspiration from sample cup. If pressure is outside of limits, system reports an error and does not report a result. Operator must check for bubbles in the sample cup and repeat collection if bubbles are visible. Operator should be trained to follow sample inspection instruction per established SOP XXX.XXX. |  |  | Pre- Analytic | Specimen Integrity: Sample Bubbles | Not properly inspecting sample cup for presence of bubbles. |  |  | System performs various pressure checks during sample aspiration from sample cup. If pressure is outside of limits, system reports an error and does not report a result. Operator must check for bubbles in the sample cup and repeat collection if bubbles are visible. Operator should be trained to follow sample inspection instruction per established SOP XXX.XXX. |  |  | Pre- Analytic | Specimen Integrity: Sample Bubbles | Not properly inspecting sample cup for presence of bubbles. |  |  | System performs various pressure checks during sample aspiration from sample cup. If pressure is outside of limits, system reports an error and does not report a result. Operator must check for bubbles in the sample cup and repeat collection if bubbles are visible. Operator should be trained to follow sample inspection instruction per established SOP XXX.XXX. |  |  | Pre- Analytic | Specimen Integrity: Sample Bubbles | Not properly inspecting sample cup for presence of bubbles. |  |  | System performs various pressure checks during sample aspiration from sample cup. If pressure is outside of limits, system reports an error and does not report a result. Operator must check for bubbles in the sample cup and repeat collection if bubbles are visible. Operator should be trained to follow sample inspection instruction per established SOP XXX.XXX. |  |  | Pre- Analytic | Specimen Integrity: Sample Bubbles | Not properly inspecting sample cup for presence of bubbles. |  |  | System performs various pressure checks during sample aspiration from sample cup. If pressure is outside of limits, system reports an error and does not report a result. Operator must check for bubbles in the sample cup and repeat collection if bubbles are visible. Operator should be trained to follow sample inspection instruction per established SOP XXX.XXX.
Pre-Analytic | Centrifugation for plasma separation from whole blood | Incorrect procedures followed for centrifugation resulting in improper separation of plasma. |  |  | System performs various pressure checks during every test which may detect issues with inadequate plasma separation. If pressure is outside of limits, system reports an error and does not report a result. Conduct periodic training of all operators to educate on proper centrifugation per Manufacturer recommendations or per established SOP XXX.XXX |  |  | Pre-Analytic | Centrifugation for plasma separation from whole blood | Incorrect procedures followed for centrifugation resulting in improper separation of plasma. |  |  | System performs various pressure checks during every test which may detect issues with inadequate plasma separation. If pressure is outside of limits, system reports an error and does not report a result. Conduct periodic training of all operators to educate on proper centrifugation per Manufacturer recommendations or per established SOP XXX.XXX |  |  | Pre-Analytic | Centrifugation for plasma separation from whole blood | Incorrect procedures followed for centrifugation resulting in improper separation of plasma. |  |  | System performs various pressure checks during every test which may detect issues with inadequate plasma separation. If pressure is outside of limits, system reports an error and does not report a result. Conduct periodic training of all operators to educate on proper centrifugation per Manufacturer recommendations or per established SOP XXX.XXX |  |  | Pre-Analytic | Centrifugation for plasma separation from whole blood | Incorrect procedures followed for centrifugation resulting in improper separation of plasma. |  |  | System performs various pressure checks during every test which may detect issues with inadequate plasma separation. If pressure is outside of limits, system reports an error and does not report a result. Conduct periodic training of all operators to educate on proper centrifugation per Manufacturer recommendations or per established SOP XXX.XXX |  |  | Pre-Analytic | Centrifugation for plasma separation from whole blood | Incorrect procedures followed for centrifugation resulting in improper separation of plasma. |  |  | System performs various pressure checks during every test which may detect issues with inadequate plasma separation. If pressure is outside of limits, system reports an error and does not report a result. Conduct periodic training of all operators to educate on proper centrifugation per Manufacturer recommendations or per established SOP XXX.XXX |  |  | Pre-Analytic | Centrifugation for plasma separation from whole blood | Incorrect procedures followed for centrifugation resulting in improper separation of plasma. |  |  | System performs various pressure checks during every test which may detect issues with inadequate plasma separation. If pressure is outside of limits, system reports an error and does not report a result. Conduct periodic training of all operators to educate on proper centrifugation per Manufacturer recommendations or per established SOP XXX.XXX |  |  | Pre-Analytic | Centrifugation for plasma separation from whole blood | Incorrect procedures followed for centrifugation resulting in improper separation of plasma. |  |  | System performs various pressure checks during every test which may detect issues with inadequate plasma separation. If pressure is outside of limits, system reports an error and does not report a result. Conduct periodic training of all operators to educate on proper centrifugation per Manufacturer recommendations or per established SOP XXX.XXX
Pre-Analytic | Identification of patient with Heterophile Antibody | Patient history of known Heterophile Antibody interference or treatments that could cause such interference |  |  | If Heterophile AB suspected, use an alternative method as per established SOP XXX.XXX. |  |  | Pre-Analytic | Identification of patient with Heterophile Antibody | Patient history of known Heterophile Antibody interference or treatments that could cause such interference |  |  | If Heterophile AB suspected, use an alternative method as per established SOP XXX.XXX. |  |  | Pre-Analytic | Identification of patient with Heterophile Antibody | Patient history of known Heterophile Antibody interference or treatments that could cause such interference |  |  | If Heterophile AB suspected, use an alternative method as per established SOP XXX.XXX. |  |  | Pre-Analytic | Identification of patient with Heterophile Antibody | Patient history of known Heterophile Antibody interference or treatments that could cause such interference |  |  | If Heterophile AB suspected, use an alternative method as per established SOP XXX.XXX. |  |  | Pre-Analytic | Identification of patient with Heterophile Antibody | Patient history of known Heterophile Antibody interference or treatments that could cause such interference |  |  | If Heterophile AB suspected, use an alternative method as per established SOP XXX.XXX. |  |  | Pre-Analytic | Identification of patient with Heterophile Antibody | Patient history of known Heterophile Antibody interference or treatments that could cause such interference |  |  | If Heterophile AB suspected, use an alternative method as per established SOP XXX.XXX. |  |  | Pre-Analytic | Identification of patient with Heterophile Antibody | Patient history of known Heterophile Antibody interference or treatments that could cause such interference |  |  | If Heterophile AB suspected, use an alternative method as per established SOP XXX.XXX.
Pre-Analytic | Infection Control | Improper handling of specimen. |  |  | All specimen waste is fully contained within the cannula or waste bin to minimize operator exposure. Operators should be trained to follow the system cleaning instructions found in the operators manual. Follow established SOP XXX.XXX for proper waste disposal. Follow established SOP XXX.XXX for infection Control. |  |  | Pre-Analytic | Infection Control | Improper handling of specimen. |  |  | All specimen waste is fully contained within the cannula or waste bin to minimize operator exposure. Operators should be trained to follow the system cleaning instructions found in the operators manual. Follow established SOP XXX.XXX for proper waste disposal. Follow established SOP XXX.XXX for infection Control. |  |  | Pre-Analytic | Infection Control | Improper handling of specimen. |  |  | All specimen waste is fully contained within the cannula or waste bin to minimize operator exposure. Operators should be trained to follow the system cleaning instructions found in the operators manual. Follow established SOP XXX.XXX for proper waste disposal. Follow established SOP XXX.XXX for infection Control. |  |  | Pre-Analytic | Infection Control | Improper handling of specimen. |  |  | All specimen waste is fully contained within the cannula or waste bin to minimize operator exposure. Operators should be trained to follow the system cleaning instructions found in the operators manual. Follow established SOP XXX.XXX for proper waste disposal. Follow established SOP XXX.XXX for infection Control. |  |  | Pre-Analytic | Infection Control | Improper handling of specimen. |  |  | All specimen waste is fully contained within the cannula or waste bin to minimize operator exposure. Operators should be trained to follow the system cleaning instructions found in the operators manual. Follow established SOP XXX.XXX for proper waste disposal. Follow established SOP XXX.XXX for infection Control. |  |  | Pre-Analytic | Infection Control | Improper handling of specimen. |  |  | All specimen waste is fully contained within the cannula or waste bin to minimize operator exposure. Operators should be trained to follow the system cleaning instructions found in the operators manual. Follow established SOP XXX.XXX for proper waste disposal. Follow established SOP XXX.XXX for infection Control. |  |  | Pre-Analytic | Infection Control | Improper handling of specimen. |  |  | All specimen waste is fully contained within the cannula or waste bin to minimize operator exposure. Operators should be trained to follow the system cleaning instructions found in the operators manual. Follow established SOP XXX.XXX for proper waste disposal. Follow established SOP XXX.XXX for infection Control.
Analytic | Specimen Integrity: Inadequate Volume | Improper cannulation of sample tube resulting in inadequate whole blood volume in rotor. |  |  | System performs various pressure checks during sample aspiration from rotor. If pressure is outside of limits, system reports an error and does not report a result. |  |  | Analytic | Specimen Integrity: Inadequate Volume | Improper cannulation of sample tube resulting in inadequate whole blood volume in rotor. |  |  | System performs various pressure checks during sample aspiration from rotor. If pressure is outside of limits, system reports an error and does not report a result. |  |  | Analytic | Specimen Integrity: Inadequate Volume | Improper cannulation of sample tube resulting in inadequate whole blood volume in rotor. |  |  | System performs various pressure checks during sample aspiration from rotor. If pressure is outside of limits, system reports an error and does not report a result. |  |  | Analytic | Specimen Integrity: Inadequate Volume | Improper cannulation of sample tube resulting in inadequate whole blood volume in rotor. |  |  | System performs various pressure checks during sample aspiration from rotor. If pressure is outside of limits, system reports an error and does not report a result. |  |  | Analytic | Specimen Integrity: Inadequate Volume | Improper cannulation of sample tube resulting in inadequate whole blood volume in rotor. |  |  | System performs various pressure checks during sample aspiration from rotor. If pressure is outside of limits, system reports an error and does not report a result. |  |  | Analytic | Specimen Integrity: Inadequate Volume | Improper cannulation of sample tube resulting in inadequate whole blood volume in rotor. |  |  | System performs various pressure checks during sample aspiration from rotor. If pressure is outside of limits, system reports an error and does not report a result. |  |  | Analytic | Specimen Integrity: Inadequate Volume | Improper cannulation of sample tube resulting in inadequate whole blood volume in rotor. |  |  | System performs various pressure checks during sample aspiration from rotor. If pressure is outside of limits, system reports an error and does not report a result.
Analytic | Specimen Integrity: Poor plasma quality | Inadequate system centrifugation resulting in poor plasma quality (i.e. low plasma volume, red blood cells). |  |  | System performs various pressure checks during sample aspiration from rotor. If pressure is outside of limits, system reports an error and does not report a result. |  |  | Analytic | Specimen Integrity: Poor plasma quality | Inadequate system centrifugation resulting in poor plasma quality (i.e. low plasma volume, red blood cells). |  |  | System performs various pressure checks during sample aspiration from rotor. If pressure is outside of limits, system reports an error and does not report a result. |  |  | Analytic | Specimen Integrity: Poor plasma quality | Inadequate system centrifugation resulting in poor plasma quality (i.e. low plasma volume, red blood cells). |  |  | System performs various pressure checks during sample aspiration from rotor. If pressure is outside of limits, system reports an error and does not report a result. |  |  | Analytic | Specimen Integrity: Poor plasma quality | Inadequate system centrifugation resulting in poor plasma quality (i.e. low plasma volume, red blood cells). |  |  | System performs various pressure checks during sample aspiration from rotor. If pressure is outside of limits, system reports an error and does not report a result. |  |  | Analytic | Specimen Integrity: Poor plasma quality | Inadequate system centrifugation resulting in poor plasma quality (i.e. low plasma volume, red blood cells). |  |  | System performs various pressure checks during sample aspiration from rotor. If pressure is outside of limits, system reports an error and does not report a result. |  |  | Analytic | Specimen Integrity: Poor plasma quality | Inadequate system centrifugation resulting in poor plasma quality (i.e. low plasma volume, red blood cells). |  |  | System performs various pressure checks during sample aspiration from rotor. If pressure is outside of limits, system reports an error and does not report a result. |  |  | Analytic | Specimen Integrity: Poor plasma quality | Inadequate system centrifugation resulting in poor plasma quality (i.e. low plasma volume, red blood cells). |  |  | System performs various pressure checks during sample aspiration from rotor. If pressure is outside of limits, system reports an error and does not report a result.
Analytic | Specimen Integrity: Interfering Substances | N/A |  |  | Operators should be familiar with the manufacturer's list of substances that do not interfere with the test Follow established SOP XXX.XXX. |  |  | Analytic | Specimen Integrity: Interfering Substances | N/A |  |  | Operators should be familiar with the manufacturer's list of substances that do not interfere with the test Follow established SOP XXX.XXX. |  |  | Analytic | Specimen Integrity: Interfering Substances | N/A |  |  | Operators should be familiar with the manufacturer's list of substances that do not interfere with the test Follow established SOP XXX.XXX. |  |  | Analytic | Specimen Integrity: Interfering Substances | N/A |  |  | Operators should be familiar with the manufacturer's list of substances that do not interfere with the test Follow established SOP XXX.XXX. |  |  | Analytic | Specimen Integrity: Interfering Substances | N/A |  |  | Operators should be familiar with the manufacturer's list of substances that do not interfere with the test Follow established SOP XXX.XXX. |  |  | Analytic | Specimen Integrity: Interfering Substances | N/A |  |  | Operators should be familiar with the manufacturer's list of substances that do not interfere with the test Follow established SOP XXX.XXX. |  |  | Analytic | Specimen Integrity: Interfering Substances | N/A |  |  | Operators should be familiar with the manufacturer's list of substances that do not interfere with the test Follow established SOP XXX.XXX.
Post-Analytic | Specimen Disposal | Improper disposal of specimen after testing. |  |  | All specimen waste is fully contained within the cannula or waste bin to minimize operator exposure. Operators should be trained to follow the system cleaning instructions found in the operators manual. Follow established SOP XXX.XXX for proper waste disposal. Follow established SOP XXX.XXX for infection Control. |  |  | Post-Analytic | Specimen Disposal | Improper disposal of specimen after testing. |  |  | All specimen waste is fully contained within the cannula or waste bin to minimize operator exposure. Operators should be trained to follow the system cleaning instructions found in the operators manual. Follow established SOP XXX.XXX for proper waste disposal. Follow established SOP XXX.XXX for infection Control. |  |  | Post-Analytic | Specimen Disposal | Improper disposal of specimen after testing. |  |  | All specimen waste is fully contained within the cannula or waste bin to minimize operator exposure. Operators should be trained to follow the system cleaning instructions found in the operators manual. Follow established SOP XXX.XXX for proper waste disposal. Follow established SOP XXX.XXX for infection Control. |  |  | Post-Analytic | Specimen Disposal | Improper disposal of specimen after testing. |  |  | All specimen waste is fully contained within the cannula or waste bin to minimize operator exposure. Operators should be trained to follow the system cleaning instructions found in the operators manual. Follow established SOP XXX.XXX for proper waste disposal. Follow established SOP XXX.XXX for infection Control. |  |  | Post-Analytic | Specimen Disposal | Improper disposal of specimen after testing. |  |  | All specimen waste is fully contained within the cannula or waste bin to minimize operator exposure. Operators should be trained to follow the system cleaning instructions found in the operators manual. Follow established SOP XXX.XXX for proper waste disposal. Follow established SOP XXX.XXX for infection Control. |  |  | Post-Analytic | Specimen Disposal | Improper disposal of specimen after testing. |  |  | All specimen waste is fully contained within the cannula or waste bin to minimize operator exposure. Operators should be trained to follow the system cleaning instructions found in the operators manual. Follow established SOP XXX.XXX for proper waste disposal. Follow established SOP XXX.XXX for infection Control. |  |  | Post-Analytic | Specimen Disposal | Improper disposal of specimen after testing. |  |  | All specimen waste is fully contained within the cannula or waste bin to minimize operator exposure. Operators should be trained to follow the system cleaning instructions found in the operators manual. Follow established SOP XXX.XXX for proper waste disposal. Follow established SOP XXX.XXX for infection Control.

## Operator
Individualized Quality Control Plan (IQCP): Stratus CS - All Methods
Operator
Testing Phase | Process Step | Identified Risk - Source of Potential Risk | Frequency of Occurrence | Severity of Harm | Risk Mitigation: Manage/Prevent Errors from Occurring | Risk Level Acceptable? | Reference
Pre-Analytic/Analytic/Post-Analytic
Pre-Analytic, Analytic, Post-Analytic | Operator Training | Improper operator training or access of unauthorized operators. |  |  | System can be configured to require an operator ID so the operator performing the testing can be identified. Operators should be trained via established SOP XXX.XXX.
Pre-Analytic, Analytic, Post-Analytic | Operator Competency | Operators may have expired training records or have not be recertified. Proper testing technique, sample management, reagent handling, and system maintenance are not being accurately followed. |  |  | System can be configured to require an operator ID so the operator performing the testing can be identified. Operators competency should be addressed via established SOP XXX.XXX.
Pre-Analytic, Analytic, Post-Analytic | Untrained Operator | Untrained operators may be performing the testing. |  |  | System can be configured to require an operator ID so the operator performing the testing can be identified. Operators should be trained via established SOP XXX.XXX.
Pre-Analytic, Analytic, Post-Analytic | Operator Error | Operator tests the wrong TestPak method |  |  | The system will display the specific method that has been loaded and will be tested with the current specimen. Operators should follow established SOP XXX.XXX for system operation.
Pre-Analytic, Analytic | Operator Error | Operator loads uncalibrated TestPak lot |  |  | System will not allow an uncalibrated TestPak lot to be tested.
Pre-Analytic, Analytic | Operator Error | Operator loads expired TestPak lot |  |  | System will not allow an expired TestPak lot to be tested.
Pre-Analytic, Analytic | Infection Control | Improper handling of specimen, reagents, or test systems |  |  | Operators should be trained on proper sample handling technique to minimize exposure to infection. Operators should be trained to follow the system cleaning instructions found in the operators manual. Follow established SOP XXX.XXX for proper sample handling.

## Reagent
Individualized Quality Control Plan (IQCP): Stratus CS - βHCG, hsCRP, CKMB, d-Dimer, Myoglobin | [7 empty] | Individualized Quality Control Plan (IQCP): Stratus CS - cTnI, NT-Pro BNP
Reagent | [7 empty] | Reagent
Phase | Process Step | Identified Risk - Source of Potential Risk | Frequency of Occurrence | Severity of Harm | Risk Mitigation: Manage/Prevent Errors from Occurring | Risk Level Acceptable? | Reference | Phase | Process Step | Identified Risk - Source of Potential Risk | Frequency of Occurrence | Severity of Harm | Risk Mitigation: Manage/Prevent Errors from Occurring | Risk Level Acceptable? | Reference
Pre-Analytic | [7 empty] | Pre-Analytic
Pre-Analytic | Reagent Handling | Improper storage of reagent paks. |  |  | Operators should be trained to follow Manufacturer's guidelines for reagent storage. Store reagent paks at 2°C -8°C (36-46°F) until use Follow established SOP XXX.XXX for reagent pak storage |  |  | Pre-Analytic | Reagent Handling | Improper storage of reagent paks. |  |  | Operators should be trained to follow Manufacturer's guidelines for reagent storage. Store TestPaks at 2°C -8°C (36-46°F) and CalPaks at -15°C to -25°C until use. Follow established SOP XXX.XXX for reagent pak storage
Pre-Analytic | Reagent Preparation | Improper storage of quality controls. N/A for Stratus reagent paks. |  |  | Operators should be trained to follow quality control material and storage instructions found in the control kit instructions for use. Follow manufacturers guidelines for QC storage/handling. |  |  | Pre-Analytic | Reagent Preparation | Improper storage of quality controls. Incomplete thawing of calibrator paks. |  |  | Operators should be trained to follow quality control material and storage instructions found in the control kit instructions for use. CalPaks need to completely thaw before use. Follow manufacturers guidelines for QC storage/handling.
Pre-Analytic | Infection Control | Improper handling of reagent paks. |  |  | Reagent paks are fully sealed to minimize operator exposure. Follow established SOP XXX.XXX for infection control. |  |  | Pre-Analytic | Infection Control | Improper handling of reagent paks. |  |  | Reagent paks are fully sealed to minimize operator exposure. Follow established SOP XXX.XXX for infection control.
Analytic | Performing a Test | Reagent pak is improperly loaded. |  |  | Reagent paks can only be inserted into the pak well in one orientation. If the reagent paks are loaded improperly the system will not allow testing to be performed. Operators should be trained to follow the proper loading of reagent paks. Each reagent pak has an arrow indicating the proper loading direction. Follow established SOP XXX.XXX for operator training. |  |  | Analytic | Performing a Test | Reagent pak is improperly loaded. |  |  | Reagent paks can only be inserted into the pak well in one orientation. If the reagent paks are loaded improperly the system will not allow testing to be performed. Operators should be trained to follow the proper loading of reagent paks. Each reagent pak has an arrow indicating the proper loading direction. Follow established SOP XXX.XXX for operator training.
Analytic | Performing a Calibration | Unsuccessful calibration of testpak lot. |  |  | System will prevent any patient or control testing until the new lot is calibrated successfully. Follow established SOP XXX.XXX if successful calibration is not achieved. |  |  | Analytic | Performing a Calibration | Unsuccessful calibration of testpak lot. |  |  | System will prevent any patient or control testing until the new lot is calibrated successfully. Follow established SOP XXX.XXX if successful calibration is not achieved.
Analytic | Performing Quality Control | Improper frequency of testing and monitoring QC. Improper preparation/handling of quality control materials. Improper test reagent storage and handling. |  |  | Operators should be trained to perform quality control checks with every new lot of reagents or as per the product Instructions for Use or via site SOP XXXX.XXX. System can be configured to lock out operation if QC is out of schedule. Follow established SOP XXX.XXX for quality control. |  |  | Analytic | Performing Quality Control | Results that do not match clinical picture. Improper preparation/handling of quality control materials. Improper test reagent storage and handling. |  |  | Operators should be trained to perform quality control checks with every new lot of reagents or as per the product Instructions for Use or via site SOP XXXX.XXX. System can be configured to lock out operation if QC is out of schedule. Follow established SOP XXX.XXX for quality control.
Analytic | Performing a Test | Expired Reagent Pak |  |  | System will prevent expired reagent pak from being tested. Follow SOP XXX. XXX if reagent cartridge barcode is damaged or illegible causing improper reading of reagent pak expiry. |  |  | Analytic | Performing a Test | Expired Reagent Pak |  |  | System will prevent expired reagent pak from being tested. Follow SOP XXX. XXX if reagent cartridge barcode is damaged or illegible causing improper reading of reagent pak expiry.
Analytic | Performing a Test | Uncalibrated TestPak |  |  | System will prevent uncalibrated testpak lot from being tested. Follow SOP XXXX. XXX if reagent cartridge barcode is damaged or illegible causing improper reading of testpak lot. |  |  | Analytic | Performing a Test | Uncalibrated TestPak |  |  | System will prevent uncalibrated testpak lot from being tested. Follow SOP XXXX. XXX if reagent cartridge barcode is damaged or illegible causing improper reading of testpak lot.
Post-Analytic | Reagent Pak Removal/Disposal | Improper removal of reagent pak. |  |  | Reagent paks are automatically disposed of into the waste bin. Follow established SOP XXX.XXX for proper disposal of waste bin. |  |  | Post-Analytic | Reagent Pak Removal/Disposal | Improper removal of reagent pak. |  |  | Reagent paks are automatically disposed of into the waste bin. Follow established SOP XXX.XXX for proper disposal of waste bin.
Post-Analytic | Infection Control | Improper handling of reagent paks. |  |  | Reagent paks are automatically disposed of into the waste bin to minimize operator exposure. Follow established SOP XXX.XXX for proper disposal of waste bin. |  |  | Post-Analytic | Infection Control | Improper handling of reagent paks. |  |  | Reagent paks are automatically disposed of into the waste bin to minimize operator exposure. Follow established SOP XXX.XXX for proper disposal of waste bin.

## Environment
Individualized Quality Control Plan (IQCP): Stratus CS - βHCG, hsCRP, CKMB, d-Dimer, Myoglobin | [7 empty] | Individualized Quality Control Plan (IQCP): Stratus CS - cTnI, NT-Pro BNP
Environment | [7 empty] | Environment
Phase | Process Step | Identified Risk - Source of Potential Risk | Frequency of Occurrence | Severity of Harm | Risk Mitigation: Manage/Prevent Errors from Occurring | Risk Level Acceptable? | Reference | Phase | Process Step | Identified Risk - Source of Potential Risk | Frequency of Occurrence | Severity of Harm | Risk Mitigation: Manage/Prevent Errors from Occurring | Risk Level Acceptable? | Reference
Pre-Analytic | [7 empty] | Pre-Analytic
Pre-Analytic | Temperature: Environmental Requirements | Laboratory temperature outside the operating temperature of the system. |  |  | Operators should be trained to ensure that the lab testing area temperature is adequate to meet the system operating temperature requirements of 65°F to 85°F (15°C to 30°C), with a maximum fluctuation of 5.4°F (3°C) per hour, as stated in the Operators guide. System performs reagent compartment temperature checks and may generate an error code if outside the acceptable limit. Follow established SOP XXX.XXX for monitoring and recording laboratory temperature. |  |  | Pre-Analytic | Temperature: Environmental Requirements | Laboratory temperature outside the operating temperature of the system. |  |  | Operators should be trained to ensure that the lab testing area temperature is adequate to meet the system operating temperature requirements of 65°F to 85°F (15°C to 30°C), with a maximum fluctuation of 5.4°F (3°C) per hour, as stated in the Operators guide. System performs reagent compartment temperature checks and may generate an error code if outside the acceptable limit. Follow established SOP XXX.XXX for monitoring and recording laboratory temperature.
Pre-Analytic | Temperature: Reagent Paks | Improper storage of reagent paks. |  |  | Operators should be trained to follow Manufacturer's guidelines for reagent storage. Store TestPaks at 2°C -8°C (36-46°F) until use. Follow SOP XXXX.XXX for monitoring and recording lab refrigerator and testing area temperature. |  |  | Pre-Analytic | Temperature: Reagent Paks | Improper storage of reagent paks. Incomplete thawing of calibrator paks. |  |  | Operators should be trained to follow Manufacturer's guidelines for reagent storage. Store TestPaks at 2°C -8°C (36-46°F) and CalPaks at -15°C to -25°C until use. CalPaks need to completely thaw before use. Follow SOP XXXX.XXX for monitoring and recording lab refrigerator and testing area temperature.
Pre-Analytic | Humidity: Instrument | Humidity is outside of the system testing requirements. |  |  | Operators should be trained to ensure the system is used within the relative humidity tolerances of 20% to 80% (non-condensing) as stated in the Operators guide. Follow established SOP XXX.XXX for monitoring and recording laboratory humidity. |  |  | Pre-Analytic | Humidity: Instrument | Humidity is outside of the system testing requirements. |  |  | Operators should be trained to ensure the system is used within the relative humidity tolerances of 20% to 80% (non-condensing) as stated in the Operators guide. Follow established SOP XXX.XXX for monitoring and recording laboratory humidity.
Pre-Analytic | Airflow/ventilation Instrument | May cause errors if airflow is restricted. Air filter is not changed as per maintenance recommendations stated in Operators guide. |  |  | System performs automatic checks that may cause errors if airflow is restricted. Operators should be trained to follow the maintence schedule for changing air filter in the Operators guide. Follow established SOP XXX.XX for system maintenance. |  |  | Pre-Analytic | Airflow/ventilation Instrument | May cause errors if airflow is restricted. Air filter is not changed as per maintenance recommendations stated in Operators guide. |  |  | System performs automatic checks that may cause errors if airflow is restricted. Operators should be trained to follow the maintence schedule for changing air filter in the Operators guide. Follow established SOP XXX.XX for system maintenance.
Pre-Analytic | Utilities(Electrical Power Disruption) | Power interruption can cause power surges and affect system operation. |  |  | System should always be plugged into a grounded outlet and the use of a UPS will allow for continuous power and system operation. |  |  | Pre-Analytic | Utilities(Electrical Power Disruption) | Power interruption can cause power surges and affect system operation. |  |  | System should always be plugged into a grounded outlet and the use of a UPS will allow for continuous power and system operation.
Pre-Analytic | Instrument Relocation | Instrument not level or incurring external vibrations. |  |  | Contact local technical support. |  |  | Pre-Analytic | Instrument Relocation | Instrument not level or incurring external vibrations. |  |  | Contact local technical support.
Analytical | Temperature Analyzer | Laboratory temperature outside the operating temperature of the system. |  |  | Operators should be trained to ensure that the lab testing area temperature is adequate to meet the system operating temperature requirements of 65°F to 85°F (15°C to 30°C), with a maximum fluctuation of 5.4°F (3°C) per hour, as stated in the Operators guide. System performs reagent compartment temperature checks and may generate an error code if outside the acceptable limit. Follow established SOP XXX.XXX for monitoring and recording laboratory temperature. |  |  | Analytical | Temperature Analyzer | Laboratory temperature outside the operating temperature of the system. |  |  | Operators should be trained to ensure that the lab testing area temperature is adequate to meet the system operating temperature requirements of 65°F to 85°F (15°C to 30°C), with a maximum fluctuation of 5.4°F (3°C) per hour, as stated in the Operators guide. System performs reagent compartment temperature checks and may generate an error code if outside the acceptable limit. Follow established SOP XXX.XXX for monitoring and recording laboratory temperature.

## Test System
Individualized Quality Control Plan (IQCP): Stratus CS - All Methods
Test System
Phase | Process Step | Identified Risk - Source of Potential Risk | Frequency of Occurrence | Severity of Harm | Risk Mitigation: Manage/Prevent Errors from Occurring | Risk Level Acceptable? | Reference
Pre-Analytic
Pre-Analytic | Fluorometer Reading | Incorrect Flurometer Setting |  |  | Run the system check daily to ensure the instrument maintains the accuracy and precision of the fluorometer . Operators should be trained to perform system check daily. Follow established SOP XXX.XXX for daily maintenance.
Pre-Analytic | Pipette Alignments | Incorrect Pipette Assembly Alignment |  |  | Run the system check daily to ensure the instrument maintains the accuracy and precision of the pipette assembly. Operators should be trained to perform system check daily. Follow established SOP XXX.XXX for daily maintenance.
Pre-Analytic | Sample Delivery | Sealing integrity during sample processing |  |  | Run the system check daily to ensure the instrument maintains the accuracy and precision of sample delivery. Operators should be trained to perform system check daily. Follow established SOP XXX.XXX for daily maintenance.
Pre-Analytic | Barcode Data Entry | Transcription error of manually-entered data such as patient ID, operator ID, and QC data |  |  | system supports barcode data entry to ensure proper specimen identifcation, positive patient ID, operator ID, and QC ID and ranges.
Pre-Analytic | Temperature monitor | Instrument temperature outside the operating temperature of the system. |  |  | Instrument internal temperature controls will flag and not allow instrument operation. System performs reagent compartment temperature checks and will generate an error code if outside the acceptable limit.
Analytic | Connectivity to LIS/HIS | Unable to transmit data to middleware or LIS/HIS. |  |  | System will generate specific error codes if connectivity issues occur. As good lab practice, update established SOP XXX.XXX to include connectivity tests prior to "go-live" and after software upgrades.
Analytic | Instrument Failure | Improper maintenance of analyzer. Improper use of analyzer. |  |  | System performs continuous checks, including: pressure checks, mechanical checks, heater-plate temperature checks, and electronic checks. System will generate errors when these limits are not met and prevent testing of specimens and quality control. Operators should be trained to perform recommended maintenance routines defined in the Operators Guide. System can be configured to schedule a daily system check and remind operators when it should be run. Operators should be trained to review error codes and instructions for next steps in the Operators Guide. Follow established SOP XXX.XXX.
Post-Analytic | Result reporting | Inaccurate transcription of results to patient record. |  |  | System can be configured to define reference ranges for each method in which the system will automatically flag samples outside of these limits. The flags will also be transmitted if the system is interfaced to LIS/HIS. Follow established SOP XXX.XXX for data recording
Post-Analytic | Infection Control | Improper maintenance of analyzer. |  |  | Waste is contained in a waste bin to minimize operator exposure. Instrument prompts when waste bin is full. Operators should be trained to follow the system maintenance instructions found in the Operators Guide. Follow established SOP XXX.XXX for infection control.

## Risk Assessment Guide
Risk Assessment Guide* Hospital/Test System residual risk
Probability of Harm
Frequent = once/week
Probable = once/month
Occasional = once/year
Remote = once/few years
Improbable = once/lifetime
Severity of Harm
Negligible = inconvenient or temporary discomfort
Minor = temporary injury or impairment not requiring professional medical intervention
Serious = injury or impairment requiring professional medical intervention
Critical = permanent impairment or life-threatening injury
Catastrophic = patient death
Probability of Harm | Negligible | Minor | Serious | Critical | Catastrophic
Frequent | Unacceptable | Unacceptable | Unacceptable | Unacceptable | Unacceptable
Probable | Acceptable | Unacceptable | Unacceptable | Unacceptable | Unacceptable
Occasional | Acceptable | Acceptable | Perform Risk-Benefit Analysis | Unacceptable | Unacceptable
Remote | Acceptable | Acceptable | Perform Risk-Benefit Analysis | Perform Risk-Benefit Analysis | Unacceptable
Improbable | Acceptable | Acceptable | Perform Risk-Benefit Analysis | Perform Risk-Benefit Analysis | Perform Risk-Benefit Analysis
*ISO 14971: Medical devices- Application of risk management to medical devices. www.iso.org
NOTE: This is an example only. Risk Gradient tables must be established in adherence to site-specific requirements and risk criteria.